## Sets
Time | Days | Finance Options | Elements | Insulation Option | Default Elements | Cost type | Cost type insulation | Cost type default | Demand | PV to | ST to | Electric Grid to | to Car | Battery to | to Battery | to HP | HP to | HP to
0 | 0 | Self financed | PV | Insulation 10% | Electricity | Investment Price | Investment Price | Service Cost | Car | Car | DH | HP | PV | Car | PV | PV | Household | Household
1 | 1 | Contractor | ST | Insulation 30% | DH | Service Cost | Service Cost | Connection Price | DHW | Electric Grid | Household | Household | Electric Grid |  | Electric Grid | Electric Grid
2 | 2 |  | HP | Insulation 85% | Gas | Connection Price |  | Fuel Price | Car: Electricity household; Car: Battery; HP: Car; PV: Battery
3 | 3 |  | Battery |  |  | Fuel Price |  | Feedin Price | Car: Heating; Car: Household; HP: Battery
4 | 4 |  | Charging Station | bar: Car
5 | 5 | [7 empty] | Car: Curtailment
6 | 6
7 | 7
8 | 8
9 | 9
10 | 10
11 | 11
12 | 12
13 | 13
14 | 14
15 | 15
16 | 16
17 | 17
18 | 18
19 | 19
20 | 20
21 | 21
22 | 22
23 | 23
24 | 24
25 | 25
26 | 26
27 | 27
28 | 28
29 | 29
30 | 30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
101
102
103
104
105
106
107
108
109
110
111
112
113
114
115
116
117
118
119
120
121
122
123
124
125
126
127
128
129
130
131
132
133
134
135
136
137
138
139
140
141
142
143
144
145
146
147
148
149
150
151
152
153
154
155
156
157
158
159
160
161
162
163
164
165
166
167
168
169
170
171
172
173
174
175
176
177
178
179
180
181
182
183
184
185
186
187
188
189
190
191
192
193
194
195
196
197
198
199
200
201
202
203
204
205
206
207
208
209
210
211
212
213
214
215
216
217
218
219
220
221
222
223
224
225
226
227
228
229
230
231
232
233
234
235
236
237
238
239
240
241
242
243
244
245
246
247
248
249
250
251
252
253
254
255
256
257
258
259
260
261
262
263
264
265
266
267
268
269
270
271
272
273
274
275
276
277
278
279
280
281
282
283
284
285
286
287
288
289
290
291
292
293
294
295
296
297
298
299
300
301
302
303
304
305
306
307
308
309
310
311
312
313
314
315
316
317
318
319
320
321
322
323
324
325
326
327
328
329
330
331
332
333
334
335
336
337
338
339
340
341
342
343
344
345
346
347
348
349
350
351
352
353
354
355
356
357
358
359
360
361
362
363
364
365
366
367
368
369
370
371
372
373
374
375
376
377
378
379
380
381
382
383
384
385
386
387
388
389
390
391
392
393
394
395
396
397
398
399
400
401
402
403
404
405
406
407
408
409
410
411
412
413
414
415
416
417
418
419
420
421
422
423
424
425
426
427
428
429
430
431
432
433
434
435
436
437
438
439
440
441
442
443
444
445
446
447
448
449
450
451
452
453
454
455
456
457
458
459
460
461
462
463
464
465
466
467
468
469
470
471
472
473
474
475
476
477
478
479
480
481
482
483
484
485
486
487
488
489
490
491
492
493
494
495
496
497
498
499
500
501
502
503
504
505
506
507
508
509
510
511
512
513
514
515
516
517
518
519
520
521
522
523
524
525
526
527
528
529
530
531
532
533
534
535
536
537
538
539
540
541
542
543
544
545
546
547
548
549
550
551
552
553
554
555
556
557
558
559
560
561
562
563
564
565
566
567
568
569
570
571
572
573
574
575
576
577
578
579
580
581
582
583
584
585
586
587
588
589
590
591
592
593
594
595
596
597
598
599
600
601
602
603
604
605
606
607
608
609
610
611
612
613
614
615
616
617
618
619
620
621
622
623
624
625
626
627
628
629
630
631
632
633
634
635
636
637
638
639
640
641
642
643
644
645
646
647
648
649
650
651
652
653
654
655
656
657
658
659
660
661
662
663
664
665
666
667
668
669
670
671
672
673
674
675
676
677
678
679
680
681
682
683
684
685
686
687
688
689
690
691
692
693
694
695
696
697
698
699
700
701
702
703
704
705
706
707
708
709
710
711
712
713
714
715
716
717
718
719
720
721
722
723
724
725
726
727
728
729
730
731
732
733
734
735
736
737
738
739
740
741
742
743

## General Data
Parameter | Abbreviation | Value
Interest rate | i | 0.03
Depreciation time | n | 20
Depreciation time insulation | n_insulation | 30
Area Roof | A_roof [m²] | 245
Area PV | A_PV [m²/kW] | 6.5
Capacity Density PV | rho_PV [kWp/m²] | 0.15385 | 1.5
Area ST per Person | A_ST_spec. [m²/pp] | 1.25
Area Density ST Flatroof |  | 1
Reduction COP | f_COP | 0.5
Temperature heating | T_h | 60
Maximum Powerflow Battery | P_max_battery | 50
Maximum Powerflow Battery Car | P_max_battery_car | 50
Capacity Battery Car | C_battery_car | 60
Efficiency Battery | η_battery | 0.95
Efficiency Battery Car | η_battery_car | 0.95
Efficiency Gas Boiler | η_battery_gas | 0.8
Number of Cars | n_cars_total | 3
Number of residents | n_household | 30
Simultaneity factor | f_simultaneity | 1
Investment ST to DH | p_invest_ST2DH | 500
Bonus shifting | p_shifting €/kW | 0.02 | regelenergiemarkt APG Off-Peak
Irradiation STC | Irr_STC [kW/m²] | 1
Temperature STC | T_STC [°C] | 25
Temperatur factor PV | [-%/°C] | 0.3
Performance ratio PV | PR | 0.85
Surface Factor PV | 45 grad, süd | 1.1
Efficiency ST | η_ST | 0.75
Min Capacity PV Contractor | [kW] | 0
Min Capacity ST Contractor | m² | 0
Max Powerflow Charging Station | kW | 22
Interest rate Contractor |  | 0.05
Spot price Electricity |  | 0.1917
Spot price DH |  | 0.05175
Spot price Gas |  | 0.05301

## Costs new investments
Finance Options | Elements | Investment Price | Service Cost | Connection Price | Fuel Price
Unit | Unit | c_inv [€/kWp,m²,psc] | c_serv [€/a] | p_con [€/kW, a] | p_fuel [€/kWh]
Self financed | PV | 950 | 20 | 9.5 | 0
Self financed | ST | 1800 | 20 | 18 | 0
Self financed | HP | 1100 | 20 | 22 | 0
Self financed | Battery | 1100 | 0 | 0.5 | 0
Self financed | Charging Station | 1400 | 20 | 0 | 0
Contractor | PV | 807.5 | 10 | 8.075 | 16
Contractor | ST | 1530 | 10 | 15.3 | 0.046
Contractor | HP | 935 | 10 | 9.35 | -15.816
Contractor | Battery | 935 | 0 | 0.5 | 2
Contractor | Charging Station | 1190 | 10 | 0 | 2

## Costs insulation
Finance Options | Insulation Options | Investment Price | Service Cost
Unit | Unit | c_inv [€/kWp,m²,psc] | c_serv [€/a]
Self financed | Insulation 10% | 195360 | 0
Self financed | Insulation 30% | 285960 | 0
Self financed | Insulation 85% | 460533.6 | 0
Contractor | Insulation 10% | 195360 | 0
Contractor | Insulation 30% | 285960 | 0
Contractor | Insulation 85% | 460533.6 | 0

## Costs default
Finance Options | Elements | Service Cost | Connection Price | Fuel Price | Feedin Price
Unit | Unit | c_serv [€/a] | c_con [€/kW] | p_fuel [€/kWh] | p_feedin [€/kWh]
Self financed | Electricity | 43.08 | 33 | 20 | 0.05
Self financed | DH | 50 | 39.09 | 0.0575 | 0.03
Self financed | Gas | 43.08 | 0 | 0.0589 | 0
Contractor | Electricity | 43.08 | 33 | 20 | 0.05
Contractor | DH | 50 | 39.09 | 0.0575 | 0.03
Contractor | Gas | 43.08 | 0 | 0.0589 | 0

## Demand
Time | Car | DHW | Electricity household | Heating
0 | 0 | 0 | 2.0062 | 149.9098
1 | 0 | 0 | 1.9049 | 149.9098
2 | 0 | 0 | 1.9991 | 149.9098
3 | 0 | 0.522 | 2.4879 | 149.9098
4 | 0 | 2.088 | 4.313 | 149.9098
5 | 0 | 14.79 | 5.373 | 149.9098
6 | 0 | 20.4166 | 24.5649 | 149.9098
7 | 0 | 35.7161 | 32.7105 | 149.9098
8 | 0 | 20.579 | 16.15 | 149.9098
9 | 0 | 11.7498 | 9.1061 | 149.9098
10 | 0 | 4.35 | 4.0891 | 149.9098
11 | 0 | 2.436 | 4.6069 | 149.9098
12 | 5.1333 | 3.7448 | 5.7009 | 149.9098
13 | 0 | 3.655 | 6.7592 | 149.9098
14 | 0 | 4.7014 | 6.9718 | 149.9098
15 | 2.5667 | 5.568 | 7.1604 | 149.9098
16 | 0 | 7.134 | 8.4031 | 149.9098
17 | 0.36667 | 26.622 | 9.5972 | 149.9098
18 | 6.6 | 20.706 | 15.6588 | 149.9098
19 | 0 | 13.8436 | 30.025 | 149.9098
20 | 0 | 16.182 | 26.0193 | 149.9098
21 | 0 | 2.617 | 15.4429 | 149.9098
22 | 0 | 0 | 6.2024 | 149.9098
23 | 0 | 0 | 2.6198 | 149.9098
24 | 0 | 0 | 2.1016 | 138.0748
25 | 0 | 0 | 1.9499 | 138.0748
26 | 0 | 0 | 1.922 | 138.0748
27 | 0 | 1.044 | 2.2373 | 138.0748
28 | 0 | 0.87 | 3.4529 | 138.0748
29 | 0 | 6.4058 | 6.5525 | 138.0748
30 | 0 | 35.5175 | 25.7973 | 138.0748
31 | 0 | 48.8916 | 32.8966 | 138.0748
32 | 0 | 32.9907 | 25.087 | 138.0748
33 | 0 | 12.0923 | 32.4984 | 138.0748
34 | 0 | 8.3586 | 20.4792 | 138.0748
35 | 0 | 3.3462 | 35.9051 | 138.0748
36 | 2.5667 | 15.4443 | 16.1034 | 138.0748
37 | 0 | 12.1915 | 13.0396 | 138.0748
38 | 0 | 11.31 | 8.6866 | 138.0748
39 | 2.5667 | 10.614 | 6.4655 | 138.0748
40 | 0 | 7.5276 | 10.5203 | 138.0748
41 | 0 | 22.272 | 15.6757 | 138.0748
42 | 3.3 | 13.9638 | 19.3323 | 138.0748
43 | 1.4667 | 12.18 | 20.1529 | 138.0748
44 | 1.8333 | 21.8822 | 19.1638 | 138.0748
45 | 0 | 8.6972 | 13.794 | 138.0748
46 | 0 | 0.348 | 5.9263 | 138.0748
47 | 0 | 0 | 2.5927 | 138.0748
48 | 0 | 0 | 1.9068 | 124.6619
49 | 0 | 0 | 2.075 | 124.6619
50 | 0 | 0 | 2.0376 | 124.6619
51 | 0 | 0.87 | 2.5352 | 124.6619
52 | 0 | 2.088 | 4.5424 | 124.6619
53 | 0 | 7.4417 | 6.0213 | 124.6619
54 | 0 | 23.5515 | 29.2355 | 124.6619
55 | 0 | 40.9504 | 32.1556 | 124.6619
56 | 0 | 25.1617 | 29.2159 | 124.6619
57 | 0 | 17.9224 | 30.9064 | 124.6619
58 | 0 | 13.6956 | 15.6782 | 124.6619
59 | 0 | 4.0661 | 19.2698 | 124.6619
60 | 0 | 18.1499 | 16.9505 | 124.6619
61 | 0 | 14.1014 | 28.156 | 124.6619
62 | 0 | 16.5599 | 13.4516 | 124.6619
63 | 0 | 18.0209 | 9.7139 | 124.6619
64 | 0 | 10.44 | 13.7624 | 124.6619
65 | 0 | 12.0533 | 16.869 | 124.6619
66 | 0 | 9.1444 | 18.8253 | 124.6619
67 | 2.9333 | 8.2503 | 24.0365 | 124.6619
68 | 0 | 11.5242 | 21.8971 | 124.6619
69 | 0 | 3.5312 | 14.1471 | 124.6619
70 | 0 | 0 | 6.4191 | 124.6619
71 | 3.6667 | 0 | 2.7946 | 124.6619
72 | 0 | 0 | 2.1462 | 123.0839
73 | 0 | 0 | 1.9876 | 123.0839
74 | 0 | 0 | 1.9795 | 123.0839
75 | 0 | 0.522 | 1.987 | 123.0839
76 | 0 | 2.61 | 3.6395 | 123.0839
77 | 0 | 3.6093 | 6.245 | 123.0839
78 | 0 | 29.566 | 27.6102 | 123.0839
79 | 0 | 30.3995 | 27.8251 | 123.0839
80 | 0 | 22.6674 | 18.3811 | 123.0839
81 | 0 | 10.9213 | 10.7315 | 123.0839
82 | 0 | 4.002 | 6.6937 | 123.0839
83 | 3.3 | 7.308 | 5.3341 | 123.0839
84 | 0 | 12.4487 | 12.2448 | 123.0839
85 | 0 | 7.1863 | 9.2611 | 123.0839
86 | 1.8333 | 15.834 | 12.1442 | 123.0839
87 | 0 | 9.1192 | 8.4556 | 123.0839
88 | 0 | 12.006 | 6.896 | 123.0839
89 | 2.5667 | 18.27 | 11.5968 | 123.0839
90 | 0 | 16.267 | 21.1718 | 123.0839
91 | 8.4333 | 19.1938 | 39.9183 | 123.0839
92 | 0 | 5.9941 | 29.8431 | 123.0839
93 | 0 | 10.788 | 16.2069 | 123.0839
94 | 0 | 0.38995 | 8.6203 | 123.0839
95 | 0 | 0 | 3.3406 | 123.0839
96 | 0 | 0 | 1.9449 | 143.5978
97 | 0 | 0 | 2.0289 | 143.5978
98 | 0 | 0 | 1.957 | 143.5978
99 | 0 | 1.044 | 2.1242 | 143.5978
100 | 0 | 2.262 | 4.1432 | 143.5978
101 | 0 | 7.9611 | 6.2002 | 143.5978
102 | 0 | 28.5449 | 27.2683 | 143.5978
103 | 0 | 45.7881 | 33.8415 | 143.5978
104 | 0 | 10.7142 | 12.9354 | 143.5978
105 | 0 | 12.354 | 9.4501 | 143.5978
106 | 0 | 3.48 | 5.6035 | 143.5978
107 | 0 | 1.9044 | 10.6556 | 143.5978
108 | 0 | 11.3503 | 7.3201 | 143.5978
109 | 3.6667 | 7.5774 | 5.5471 | 143.5978
110 | 1.4667 | 2.2291 | 6.7232 | 143.5978
111 | 0 | 8.7852 | 6.75 | 143.5978
112 | 0 | 12.876 | 7.3135 | 143.5978
113 | 0 | 12.7447 | 12.8135 | 143.5978
114 | 5.1333 | 17.6583 | 18.6858 | 143.5978
115 | 1.8333 | 21.228 | 32.1084 | 143.5978
116 | 0 | 8.178 | 24.4524 | 143.5978
117 | 0 | 17.2707 | 12.9285 | 143.5978
118 | 0 | 0.522 | 7.3425 | 143.5978
119 | 0 | 0 | 2.9722 | 143.5978
120 | 0 | 0 | 2.1352 | 145.9648
121 | 0 | 0 | 2.0793 | 145.9648
122 | 0 | 0 | 2.0906 | 145.9648
123 | 0 | 0.87 | 2.3554 | 145.9648
124 | 0 | 2.262 | 4.7703 | 145.9648
125 | 0 | 6.0409 | 6.3938 | 145.9648
126 | 0 | 28.3878 | 24.4623 | 145.9648
127 | 0 | 36.1571 | 30.6713 | 145.9648
128 | 0 | 24.2201 | 22.8226 | 145.9648
129 | 0 | 7.1832 | 10.5937 | 145.9648
130 | 0 | 0.73467 | 4.8332 | 145.9648
131 | 0 | 3.48 | 5.1883 | 145.9648
132 | 0 | 4.6066 | 5.4286 | 145.9648
133 | 0 | 15.6501 | 7.8896 | 145.9648
134 | 0 | 23.664 | 8.9137 | 145.9648
135 | 0 | 10.266 | 8.3543 | 145.9648
136 | 5.1333 | 5.3123 | 8.6515 | 145.9648
137 | 0 | 25.1014 | 16.0565 | 145.9648
138 | 1.8333 | 15.0093 | 24.2266 | 145.9648
139 | 10.2667 | 8.0869 | 30.4097 | 145.9648
140 | 0.36667 | 21.228 | 20.741 | 145.9648
141 | 0 | 14.9584 | 15.2778 | 145.9648
142 | 0 | 2.5859 | 7.7258 | 145.9648
143 | 0 | 0 | 2.8932 | 145.9648
144 | 0 | 0 | 1.9859 | 142.0198
145 | 0 | 0 | 2.085 | 142.0198
146 | 0 | 0 | 2.1161 | 142.0198
147 | 0 | 1.392 | 2.1507 | 142.0198
148 | 0 | 1.914 | 3.7979 | 142.0198
149 | 0 | 6.35 | 4.9831 | 142.0198
150 | 0 | 29.41 | 29.5757 | 142.0198
151 | 0 | 36.2407 | 34.3086 | 142.0198
152 | 0 | 16.0279 | 17.3981 | 142.0198
153 | 0 | 5.829 | 8.8716 | 142.0198
154 | 0 | 4.176 | 5.4978 | 142.0198
155 | 0 | 6.6219 | 7.8463 | 142.0198
156 | 0 | 1.7821 | 7.2142 | 142.0198
157 | 0 | 12.6569 | 5.0423 | 142.0198
158 | 1.8333 | 6.9143 | 6.5167 | 142.0198
159 | 1.1 | 8.004 | 5.3348 | 142.0198
160 | 1.4667 | 13.398 | 9.063 | 142.0198
161 | 2.5667 | 15.2626 | 18.6851 | 142.0198
162 | 5.1333 | 20.3998 | 25.2706 | 142.0198
163 | 1.8333 | 24.6271 | 29.8059 | 142.0198
164 | 3.3 | 7.83 | 20.0199 | 142.0198
165 | 0 | 7.2949 | 16.7501 | 142.0198
166 | 0 | 2.436 | 8.8395 | 142.0198
167 | 0 | 0 | 2.9614 | 142.0198
168 | 0 | 0 | 2.5195 | 129.3959
169 | 0 | 0 | 2.2523 | 129.3959
170 | 0 | 0 | 1.9049 | 129.3959
171 | 0 | 1.044 | 2.4345 | 129.3959
172 | 0 | 2.088 | 3.2504 | 129.3959
173 | 0 | 5.2194 | 5.5611 | 129.3959
174 | 0 | 28.6667 | 26.4412 | 129.3959
175 | 0 | 35.4888 | 28.038 | 129.3959
176 | 0 | 11.7649 | 19.9328 | 129.3959
177 | 0 | 10.0051 | 6.8384 | 129.3959
178 | 0 | 8.352 | 4.5977 | 129.3959
179 | 3.3 | 5.5302 | 6.986 | 129.3959
180 | 0 | 1.566 | 5.1157 | 129.3959
181 | 0 | 6.4824 | 4.7962 | 129.3959
182 | 0 | 15.264 | 5.7095 | 129.3959
183 | 0 | 18.444 | 4.4557 | 129.3959
184 | 0 | 10.44 | 9.2861 | 129.3959
185 | 1.8333 | 21.9985 | 16.5368 | 129.3959
186 | 0 | 16.237 | 24.3341 | 129.3959
187 | 6.9667 | 15.66 | 30.0322 | 129.3959
188 | 0 | 14.9581 | 21.2112 | 129.3959
189 | 0 | 14.3968 | 15.8861 | 129.3959
190 | 0 | 4.698 | 7.0354 | 129.3959
191 | 0 | 0 | 2.882 | 129.3959
192 | 0 | 0 | 1.9495 | 142.8088
193 | 0 | 0 | 2.1312 | 142.8088
194 | 0 | 0 | 1.9924 | 142.8088
195 | 0 | 1.218 | 2.692 | 142.8088
196 | 0 | 1.914 | 4.4436 | 142.8088
197 | 0 | 5.9 | 7.5984 | 142.8088
198 | 0 | 31.0911 | 23.5385 | 142.8088
199 | 0 | 34.2284 | 37.5257 | 142.8088
200 | 0 | 26.3308 | 31.9008 | 142.8088
201 | 2.5667 | 14.6255 | 31.3259 | 142.8088
202 | 0 | 9.7902 | 21.4555 | 142.8088
203 | 2.5667 | 4.8247 | 36.6991 | 142.8088
204 | 0 | 3.132 | 18.4569 | 142.8088
205 | 0 | 10.005 | 9.461 | 142.8088
206 | 0 | 16.704 | 10.567 | 142.8088
207 | 3.3 | 22.8499 | 17.041 | 142.8088
208 | 0 | 14.616 | 13.244 | 142.8088
209 | 0 | 26.448 | 18.2852 | 142.8088
210 | 0 | 8.7 | 26.1425 | 142.8088
211 | 0 | 10.839 | 20.1508 | 142.8088
212 | 0 | 7.0508 | 14.7694 | 142.8088
213 | 0 | 5.5246 | 11.3594 | 142.8088
214 | 3.3 | 1.566 | 6.5928 | 142.8088
215 | 0 | 0 | 2.9778 | 142.8088
216 | 0 | 0 | 2.1723 | 153.0658
217 | 0 | 0 | 2.3037 | 153.0658
218 | 0 | 0 | 2.2554 | 153.0658
219 | 0 | 1.044 | 2.4775 | 153.0658
220 | 0 | 1.914 | 4.2441 | 153.0658
221 | 0 | 8.3121 | 5.6267 | 153.0658
222 | 0 | 30.9333 | 25.4063 | 153.0658
223 | 0 | 34.3787 | 31.7336 | 153.0658
224 | 0 | 27.289 | 35.908 | 153.0658
225 | 0 | 15.0762 | 40.4012 | 153.0658
226 | 0 | 2.9968 | 25.7771 | 153.0658
227 | 0 | 9.3481 | 30.0126 | 153.0658
228 | 0 | 15.8459 | 27.1937 | 153.0658
229 | 0 | 11.7765 | 33.4877 | 153.0658
230 | 3.3 | 10.0061 | 19.4141 | 153.0658
231 | 0 | 22.3766 | 10.5545 | 153.0658
232 | 0 | 15.531 | 9.3824 | 153.0658
233 | 0 | 21.6603 | 12.8996 | 153.0658
234 | 0 | 18.444 | 18.1965 | 153.0658
235 | 2.9333 | 58.464 | 25.1218 | 153.0658
236 | 0 | 24.2349 | 18.7158 | 153.0658
237 | 0 | 18.0018 | 13.3554 | 153.0658
238 | 0.36667 | 0 | 7.0441 | 153.0658
239 | 3.3 | 0 | 3.9096 | 153.0658
240 | 0 | 0 | 2.1574 | 163.3228
241 | 0 | 0 | 1.8899 | 163.3228
242 | 0 | 0 | 2.0339 | 163.3228
243 | 0 | 1.044 | 2.4472 | 163.3228
244 | 0 | 1.74 | 4.0348 | 163.3228
245 | 0 | 11.0874 | 6.6292 | 163.3228
246 | 0 | 16.9202 | 22.741 | 163.3228
247 | 0 | 29.1882 | 30.6298 | 163.3228
248 | 0 | 18.0897 | 18.2792 | 163.3228
249 | 0 | 5.1123 | 8.6353 | 163.3228
250 | 0 | 0 | 4.8122 | 163.3228
251 | 0 | 9.6567 | 5.5582 | 163.3228
252 | 3.3 | 3.8711 | 5.9975 | 163.3228
253 | 0 | 3.343 | 6.587 | 163.3228
254 | 1.8333 | 0.87 | 7.6894 | 163.3228
255 | 5.8667 | 4.6107 | 7.8898 | 163.3228
256 | 4.4 | 10.962 | 9.3795 | 163.3228
257 | 0 | 20.9603 | 13.1495 | 163.3228
258 | 2.5667 | 14.1352 | 17.1765 | 163.3228
259 | 0 | 27.873 | 27.5118 | 163.3228
260 | 11.3667 | 18.7138 | 18.8482 | 163.3228
261 | 0 | 6.7434 | 11.9071 | 163.3228
262 | 0 | 0.39807 | 7.4653 | 163.3228
263 | 0 | 0 | 2.9974 | 163.3228
264 | 0 | 0 | 2.2687 | 177.5248
265 | 0 | 0 | 2.0499 | 177.5248
266 | 0 | 0 | 1.9343 | 177.5248
267 | 0 | 0.174 | 2.0533 | 177.5248
268 | 0 | 1.914 | 3.6285 | 177.5248
269 | 0 | 4.9698 | 6.3272 | 177.5248
270 | 0 | 35.225 | 23.3276 | 177.5248
271 | 0 | 24.77 | 28.3956 | 177.5248
272 | 0 | 9.3204 | 14.8649 | 177.5248
273 | 0 | 8.0498 | 7.6788 | 177.5248
274 | 0 | 2.784 | 4.8691 | 177.5248
275 | 3.3 | 3.7856 | 10.4584 | 177.5248
276 | 0 | 4.1233 | 8.7967 | 177.5248
277 | 1.8333 | 13.131 | 5.0149 | 177.5248
278 | 0 | 8.2145 | 8.784 | 177.5248
279 | 0 | 8.178 | 7.083 | 177.5248
280 | 0 | 4.176 | 7.0986 | 177.5248
281 | 1.4667 | 20.532 | 12.3398 | 177.5248
282 | 3.6667 | 11.136 | 22.3799 | 177.5248
283 | 1.8333 | 14.7909 | 27.3303 | 177.5248
284 | 3.3 | 19.0123 | 22.9231 | 177.5248
285 | 0 | 23.4533 | 14.0258 | 177.5248
286 | 0 | 0.085619 | 6.4301 | 177.5248
287 | 0 | 0 | 2.7253 | 177.5248
288 | 1.8333 | 0 | 2.0179 | 192.5158
289 | 1.4667 | 0 | 1.9099 | 192.5158
290 | 0 | 0 | 2.0269 | 192.5158
291 | 0 | 0.522 | 2.1549 | 192.5158
292 | 0 | 4.35 | 4.3211 | 192.5158
293 | 0 | 8.6483 | 6.1777 | 192.5158
294 | 0 | 33.7066 | 25.671 | 192.5158
295 | 0 | 21.118 | 31.6904 | 192.5158
296 | 0 | 10.8705 | 13.7032 | 192.5158
297 | 0 | 7.656 | 6.3808 | 192.5158
298 | 0 | 2.958 | 10.2306 | 192.5158
299 | 0 | 1.914 | 12.4049 | 192.5158
300 | 0 | 9.18 | 9.8448 | 192.5158
301 | 1.8333 | 19.488 | 8.4107 | 192.5158
302 | 0 | 8.3814 | 11.5352 | 192.5158
303 | 0 | 2.088 | 7.5141 | 192.5158
304 | 0 | 4.698 | 8.8274 | 192.5158
305 | 2.5667 | 5.568 | 10.0256 | 192.5158
306 | 5.1333 | 8.0452 | 27.1372 | 192.5158
307 | 1.8333 | 18.7409 | 37.4685 | 192.5158
308 | 0 | 7.5273 | 23.2049 | 192.5158
309 | 0 | 14.8332 | 11.6068 | 192.5158
310 | 0 | 2.61 | 5.801 | 192.5158
311 | 0 | 0 | 2.5475 | 192.5158
312 | 0 | 0.348 | 2.4744 | 171.2128
313 | 0 | 0 | 2.0472 | 171.2128
314 | 0 | 0 | 1.9672 | 171.2128
315 | 0 | 1.218 | 2.5437 | 171.2128
316 | 0 | 2.088 | 4.1966 | 171.2128
317 | 0 | 15.0568 | 6.1385 | 171.2128
318 | 0 | 35.9433 | 25.4695 | 171.2128
319 | 0 | 23.0759 | 28.5185 | 171.2128
320 | 0 | 6.8247 | 14.1329 | 171.2128
321 | 0 | 3.5673 | 6.8238 | 171.2128
322 | 0 | 2.784 | 2.2066 | 171.2128
323 | 3.3 | 4.698 | 3.38 | 171.2128
324 | 0 | 12.2311 | 6.346 | 171.2128
325 | 1.8333 | 13.701 | 8.5544 | 171.2128
326 | 0 | 7.134 | 5.4162 | 171.2128
327 | 0 | 6.131 | 6.2641 | 171.2128
328 | 0 | 9.6482 | 5.8248 | 171.2128
329 | 0 | 11.9163 | 9.3206 | 171.2128
330 | 5.1333 | 10.1268 | 15.0462 | 171.2128
331 | 2.5667 | 13.5305 | 22.5839 | 171.2128
332 | 0 | 17.8009 | 22.4954 | 171.2128
333 | 0 | 17.0891 | 13.5402 | 171.2128
334 | 0 | 4.176 | 7.5446 | 171.2128
335 | 0 | 0 | 2.9054 | 171.2128
336 | 0 | 0.174 | 2.3841 | 168.8458
337 | 0 | 0 | 2.3046 | 168.8458
338 | 0 | 0 | 2.0398 | 168.8458
339 | 0 | 0.348 | 2.0554 | 168.8458
340 | 0 | 1.218 | 3.4216 | 168.8458
341 | 0 | 11.6535 | 6.9012 | 168.8458
342 | 0 | 32.4787 | 22.9966 | 168.8458
343 | 0 | 31.8443 | 31.4438 | 168.8458
344 | 0 | 6.3024 | 16.7571 | 168.8458
345 | 0 | 0.522 | 10.4373 | 168.8458
346 | 0 | 2.262 | 4.6343 | 168.8458
347 | 0 | 1.3047 | 4.5946 | 168.8458
348 | 5.1333 | 15.7056 | 8.1338 | 168.8458
349 | 0 | 10.7851 | 8.5595 | 168.8458
350 | 0 | 13.2625 | 5.3592 | 168.8458
351 | 0 | 5.7149 | 6.1289 | 168.8458
352 | 0 | 2.8658 | 7.3722 | 168.8458
353 | 5.1333 | 11.484 | 10.8166 | 168.8458
354 | 0 | 15.486 | 19.5005 | 168.8458
355 | 1.4667 | 14.8353 | 32.5819 | 168.8458
356 | 3.6667 | 12.0871 | 25.2795 | 168.8458
357 | 1.8333 | 7.83 | 13.2183 | 168.8458
358 | 6.2333 | 2.088 | 7.6378 | 168.8458
359 | 0 | 0 | 3.0087 | 168.8458
360 | 0 | 0 | 2.3556 | 159.3778
361 | 0 | 0 | 2.4218 | 159.3778
362 | 0 | 0 | 2.1948 | 159.3778
363 | 0 | 0.696 | 2.171 | 159.3778
364 | 0 | 1.392 | 3.6075 | 159.3778
365 | 0 | 9.9265 | 7.4861 | 159.3778
366 | 0 | 41.9951 | 27.4209 | 159.3778
367 | 0 | 51.574 | 34.5063 | 159.3778
368 | 0 | 20.2452 | 25.4863 | 159.3778
369 | 0 | 12.9639 | 23.1759 | 159.3778
370 | 0 | 3.306 | 22.5331 | 159.3778
371 | 0 | 1.74 | 36.445 | 159.3778
372 | 0 | 3.306 | 19.0119 | 159.3778
373 | 0 | 6.2256 | 11.4911 | 159.3778
374 | 0 | 6.5233 | 19.0554 | 159.3778
375 | 0 | 4.698 | 14.9832 | 159.3778
376 | 0 | 22.098 | 12.0824 | 159.3778
377 | 0 | 21.228 | 15.2708 | 159.3778
378 | 3.3 | 15.8819 | 20.7409 | 159.3778
379 | 0 | 15.7508 | 24.4963 | 159.3778
380 | 0 | 9.6117 | 18.3901 | 159.3778
381 | 0 | 23.2826 | 11.5865 | 159.3778
382 | 0 | 0.38599 | 4.6009 | 159.3778
383 | 0 | 0 | 2.3811 | 159.3778
384 | 0 | 0 | 1.8624 | 119.9279
385 | 0 | 0 | 2.1544 | 119.9279
386 | 0 | 0 | 2.0444 | 119.9279
387 | 0 | 0.522 | 2.0717 | 119.9279
388 | 0 | 1.218 | 4.1133 | 119.9279
389 | 0 | 17.6999 | 7.0487 | 119.9279
390 | 0 | 30.2263 | 28.2965 | 119.9279
391 | 0 | 26.3098 | 23.5842 | 119.9279
392 | 0 | 27.5623 | 22.0788 | 119.9279
393 | 0 | 24.9125 | 26.9763 | 119.9279
394 | 0 | 10.4079 | 19.2574 | 119.9279
395 | 0 | 3.0928 | 25.4562 | 119.9279
396 | 0 | 7.1372 | 19.4601 | 119.9279
397 | 0 | 8.5548 | 20.3987 | 119.9279
398 | 0 | 21.1455 | 10.8957 | 119.9279
399 | 3.3 | 17.3147 | 14.2111 | 119.9279
400 | 0 | 10.869 | 16.781 | 119.9279
401 | 0 | 9.222 | 17.1216 | 119.9279
402 | 0 | 12.354 | 21.6946 | 119.9279
403 | 3.3 | 13.358 | 28.3779 | 119.9279
404 | 6.6 | 7.2167 | 19.8721 | 119.9279
405 | 0 | 11.3555 | 13.1429 | 119.9279
406 | 0 | 1.4773 | 7.4641 | 119.9279
407 | 0 | 0 | 3.1777 | 119.9279
408 | 0 | 0 | 2.2731 | 140.4418
409 | 0 | 0 | 2.1225 | 140.4418
410 | 0 | 0 | 2.0116 | 140.4418
411 | 0 | 0 | 1.949 | 140.4418
412 | 0 | 1.392 | 4.0318 | 140.4418
413 | 0 | 26.6782 | 6.4321 | 140.4418
414 | 0 | 19.6456 | 25.9433 | 140.4418
415 | 0 | 24.6692 | 26.829 | 140.4418
416 | 0 | 10.1936 | 11.1374 | 140.4418
417 | 0 | 0.9638 | 4.601 | 140.4418
418 | 0 | 0.522 | 2.7409 | 140.4418
419 | 0 | 1.044 | 3.5449 | 140.4418
420 | 3.3 | 1.704 | 4.7939 | 140.4418
421 | 1.8333 | 7.4452 | 8.0862 | 140.4418
422 | 0 | 12.0877 | 11.1238 | 140.4418
423 | 2.5667 | 2.436 | 10.954 | 140.4418
424 | 2.5667 | 12.528 | 5.6431 | 140.4418
425 | 0 | 15.834 | 8.008 | 140.4418
426 | 6.9667 | 11.1785 | 17.4612 | 140.4418
427 | 0 | 19.5327 | 31.9656 | 140.4418
428 | 0 | 10.7082 | 18.1947 | 140.4418
429 | 0 | 15.138 | 10.0385 | 140.4418
430 | 0 | 2.262 | 6.2 | 140.4418
431 | 0 | 0 | 2.8905 | 140.4418
432 | 0 | 0 | 1.882 | 165.6898
433 | 0 | 0 | 1.9571 | 165.6898
434 | 0 | 0 | 2.0692 | 165.6898
435 | 0 | 0.696 | 2.4013 | 165.6898
436 | 0 | 1.74 | 3.9852 | 165.6898
437 | 0 | 21.8483 | 5.9361 | 165.6898
438 | 0 | 36.9068 | 26.7563 | 165.6898
439 | 0 | 25.5127 | 26.0541 | 165.6898
440 | 0 | 16.0952 | 15.9977 | 165.6898
441 | 0 | 1.1474 | 8.3152 | 165.6898
442 | 0 | 2.958 | 4.0543 | 165.6898
443 | 3.3 | 0.6908 | 12.5631 | 165.6898
444 | 0 | 5.5182 | 9.6798 | 165.6898
445 | 1.8333 | 19.4884 | 7.9161 | 165.6898
446 | 0 | 13.1367 | 5.0603 | 165.6898
447 | 0 | 7.5711 | 6.2461 | 165.6898
448 | 0 | 7.1832 | 5.5569 | 165.6898
449 | 0 | 11.136 | 12.8494 | 165.6898
450 | 0 | 12.18 | 22.9563 | 165.6898
451 | 8.0667 | 7.997 | 30.9946 | 165.6898
452 | 6.2333 | 12.4591 | 21.4512 | 165.6898
453 | 0 | 8.7 | 15.2576 | 165.6898
454 | 0 | 0.348 | 6.9634 | 165.6898
455 | 0 | 0 | 3.3148 | 165.6898
456 | 0 | 0 | 2.6638 | 149.1208
457 | 0 | 0 | 2.1112 | 149.1208
458 | 0 | 0 | 1.9909 | 149.1208
459 | 0 | 0.174 | 2.0086 | 149.1208
460 | 0 | 2.784 | 3.8758 | 149.1208
461 | 0 | 20.4398 | 6.4208 | 149.1208
462 | 0 | 26.3792 | 26.7988 | 149.1208
463 | 0 | 29.4363 | 25.543 | 149.1208
464 | 0 | 8.8687 | 15.3254 | 149.1208
465 | 0 | 6.96 | 7.9592 | 149.1208
466 | 0 | 0.348 | 4.5081 | 149.1208
467 | 0 | 1.0456 | 6.5969 | 149.1208
468 | 0 | 12.7962 | 6.706 | 149.1208
469 | 1.8333 | 16.53 | 5.9022 | 149.1208
470 | 0 | 3.0968 | 5.3165 | 149.1208
471 | 0 | 0.696 | 3.8926 | 149.1208
472 | 2.5667 | 2.6577 | 5.3713 | 149.1208
473 | 0 | 28.4123 | 12.8834 | 149.1208
474 | 0 | 15.2329 | 25.3993 | 149.1208
475 | 6.6 | 14.5298 | 30.937 | 149.1208
476 | 0.36667 | 14.094 | 18.4991 | 149.1208
477 | 0 | 13.6144 | 13.0857 | 149.1208
478 | 0 | 0.95696 | 6.7465 | 149.1208
479 | 0 | 0 | 2.2588 | 149.1208
480 | 0 | 0 | 1.9521 | 172.0018
481 | 0 | 0 | 1.9309 | 172.0018
482 | 0 | 0 | 1.9686 | 172.0018
483 | 0 | 0.696 | 2.2379 | 172.0018
484 | 0 | 2.784 | 3.4215 | 172.0018
485 | 0 | 13.2754 | 7.2915 | 172.0018
486 | 0 | 39.7914 | 28.7919 | 172.0018
487 | 0 | 30.5759 | 32.7642 | 172.0018
488 | 0 | 5.0924 | 14.788 | 172.0018
489 | 0 | 0.522 | 9.8763 | 172.0018
490 | 0 | 3.306 | 3.6521 | 172.0018
491 | 0 | 9.222 | 4.0403 | 172.0018
492 | 0 | 17.3986 | 9.1605 | 172.0018
493 | 3.3 | 11.7094 | 9.5476 | 172.0018
494 | 1.8333 | 4.2218 | 7.6797 | 172.0018
495 | 2.5667 | 3.9046 | 6.0924 | 172.0018
496 | 5.1333 | 1.914 | 4.0965 | 172.0018
497 | 0 | 17.922 | 9.5219 | 172.0018
498 | 0 | 12.876 | 19.3963 | 172.0018
499 | 0 | 15.9709 | 32.4215 | 172.0018
500 | 1.8333 | 15.0425 | 26.3594 | 172.0018
501 | 0 | 7.83 | 15.2916 | 172.0018
502 | 0 | 0.348 | 6.6551 | 172.0018
503 | 0 | 0 | 2.9436 | 172.0018
504 | 0 | 0 | 1.9455 | 175.1578
505 | 0 | 0 | 1.9836 | 175.1578
506 | 0 | 0 | 2.0747 | 175.1578
507 | 0 | 0.522 | 2.1963 | 175.1578
508 | 0 | 1.392 | 3.5365 | 175.1578
509 | 0 | 15.8129 | 5.8218 | 175.1578
510 | 0 | 33.3691 | 27.7391 | 175.1578
511 | 0 | 29.6321 | 29.0556 | 175.1578
512 | 0 | 4.4052 | 15.3399 | 175.1578
513 | 0 | 4.6084 | 11.1518 | 175.1578
514 | 0 | 1.044 | 6.0122 | 175.1578
515 | 3.3 | 1.1856 | 9.2187 | 175.1578
516 | 0 | 5.3581 | 7.9712 | 175.1578
517 | 1.8333 | 10.5625 | 10.0872 | 175.1578
518 | 0 | 17.3516 | 10.9782 | 175.1578
519 | 0 | 1.475 | 14.1319 | 175.1578
520 | 2.5667 | 10.1337 | 6.3059 | 175.1578
521 | 0 | 9.744 | 14.8159 | 175.1578
522 | 4.4 | 10.962 | 26.9012 | 175.1578
523 | 7.3333 | 14.0034 | 30.7205 | 175.1578
524 | 4.7667 | 9.8867 | 19.2616 | 175.1578
525 | 0 | 23.9855 | 15.735 | 175.1578
526 | 0 | 0.22354 | 8.6504 | 175.1578
527 | 0 | 0 | 2.8535 | 175.1578
528 | 0 | 0 | 2.1031 | 222.4977
529 | 0 | 0 | 1.8871 | 222.4977
530 | 0 | 0 | 1.9298 | 222.4977
531 | 0 | 0.174 | 2.2063 | 222.4977
532 | 0 | 3.828 | 4.2367 | 222.4977
533 | 0 | 17.8735 | 6.8152 | 222.4977
534 | 0 | 39.8041 | 27.9893 | 222.4977
535 | 0 | 52.5622 | 33.432 | 222.4977
536 | 0 | 20.614 | 27.7081 | 222.4977
537 | 0 | 17.0682 | 32.2438 | 222.4977
538 | 0 | 4.9229 | 20.1833 | 222.4977
539 | 2.5667 | 6.8721 | 28.9734 | 222.4977
540 | 0 | 2.4644 | 22.8389 | 222.4977
541 | 0 | 6.6984 | 12.4427 | 222.4977
542 | 0 | 8.9186 | 14.6544 | 222.4977
543 | 0 | 20.358 | 16.6628 | 222.4977
544 | 0 | 9.2162 | 16.4126 | 222.4977
545 | 0 | 16.4019 | 17.9358 | 222.4977
546 | 0 | 33.06 | 17.1545 | 222.4977
547 | 3.3 | 45.8518 | 23.3529 | 222.4977
548 | 0 | 28.9639 | 19.8029 | 222.4977
549 | 0 | 18.8344 | 14.6303 | 222.4977
550 | 0 | 0.092791 | 6.4559 | 222.4977
551 | 0 | 0 | 2.5051 | 222.4977
552 | 0 | 0 | 2.2928 | 222.4977
553 | 0 | 0 | 2.3549 | 222.4977
554 | 0 | 0 | 2.2241 | 222.4977
555 | 0 | 0.174 | 2.2562 | 222.4977
556 | 0 | 3.132 | 4.4756 | 222.4977
557 | 0 | 19.8785 | 7.7018 | 222.4977
558 | 0 | 20.9726 | 25.5068 | 222.4977
559 | 0 | 42.0269 | 34.7005 | 222.4977
560 | 0 | 20.8265 | 25.4326 | 222.4977
561 | 0 | 14.8844 | 28.4966 | 222.4977
562 | 0 | 3.9119 | 21.088 | 222.4977
563 | 0 | 9.0242 | 19.6108 | 222.4977
564 | 0 | 14.964 | 20.4021 | 222.4977
565 | 0 | 16.1568 | 25.7932 | 222.4977
566 | 0.36667 | 15.4786 | 19.4019 | 222.4977
567 | 2.9333 | 9.0956 | 13.2536 | 222.4977
568 | 0 | 13.572 | 12.5734 | 222.4977
569 | 0 | 9.2667 | 17.2484 | 222.4977
570 | 0 | 10.3543 | 22.0208 | 222.4977
571 | 2.5667 | 15.6102 | 23.0622 | 222.4977
572 | 0 | 5.4813 | 16.9579 | 222.4977
573 | 0 | 14.3125 | 10.8672 | 222.4977
574 | 0 | 0.174 | 7.694 | 222.4977
575 | 4.0333 | 0.174 | 4.1587 | 222.4977
576 | 0 | 0 | 2.1205 | 212.2408
577 | 0 | 0 | 2.1192 | 212.2408
578 | 0 | 0 | 1.9699 | 212.2408
579 | 0 | 0.174 | 2.1978 | 212.2408
580 | 0 | 2.784 | 3.924 | 212.2408
581 | 0 | 13.4888 | 7.8295 | 212.2408
582 | 0 | 27.6784 | 26.7064 | 212.2408
583 | 0 | 27.0698 | 25.3618 | 212.2408
584 | 0 | 10.8702 | 10.7771 | 212.2408
585 | 0 | 5.23 | 5.1392 | 212.2408
586 | 0 | 0 | 2.9895 | 212.2408
587 | 1.8333 | 4.524 | 4.6226 | 212.2408
588 | 3.3 | 12.2219 | 8.2507 | 212.2408
589 | 0 | 8.0646 | 6.9468 | 212.2408
590 | 2.5667 | 12.1366 | 5.2196 | 212.2408
591 | 2.5667 | 8.7482 | 4.1069 | 212.2408
592 | 0 | 9.57 | 5.3223 | 212.2408
593 | 0 | 18.096 | 12.4989 | 212.2408
594 | 0 | 10.44 | 24.0739 | 212.2408
595 | 4.0333 | 16.4284 | 32.1599 | 212.2408
596 | 0.36667 | 10.3822 | 25.8812 | 212.2408
597 | 0 | 11.7542 | 14.2401 | 212.2408
598 | 0 | 4.872 | 6.3321 | 212.2408
599 | 0 | 0 | 3.3156 | 212.2408
600 | 0 | 0 | 2.0412 | 165.6898
601 | 0 | 0 | 2.0216 | 165.6898
602 | 0 | 0 | 1.9327 | 165.6898
603 | 0 | 1.044 | 2.0932 | 165.6898
604 | 0 | 1.566 | 3.9983 | 165.6898
605 | 0 | 14.4882 | 7.1293 | 165.6898
606 | 0 | 38.6983 | 27.5688 | 165.6898
607 | 0 | 21.8486 | 25.9439 | 165.6898
608 | 0 | 7.3064 | 13.1851 | 165.6898
609 | 0 | 0.87 | 10.4455 | 165.6898
610 | 0 | 0.348 | 3.3303 | 165.6898
611 | 0 | 4.9078 | 5.2277 | 165.6898
612 | 0 | 9.4765 | 3.5777 | 165.6898
613 | 4.7667 | 16.008 | 5.7946 | 165.6898
614 | 0.36667 | 5.5598 | 6.2286 | 165.6898
615 | 0 | 8.874 | 6.9772 | 165.6898
616 | 0 | 8.2272 | 6.365 | 165.6898
617 | 5.1333 | 9.222 | 10.7689 | 165.6898
618 | 0 | 13.1779 | 19.9083 | 165.6898
619 | 0 | 13.9596 | 24.5547 | 165.6898
620 | 1.8333 | 11.7787 | 20.241 | 165.6898
621 | 3.3 | 7.2301 | 14.5494 | 165.6898
622 | 0 | 0.174 | 6.1779 | 165.6898
623 | 0 | 0 | 2.6721 | 165.6898
624 | 0 | 0 | 2.011 | 152.2768
625 | 0 | 0 | 1.9715 | 152.2768
626 | 0 | 0 | 2.0524 | 152.2768
627 | 0 | 1.74 | 2.1661 | 152.2768
628 | 0 | 1.914 | 4.7922 | 152.2768
629 | 0 | 21.1383 | 7.4453 | 152.2768
630 | 0 | 27.8557 | 28.393 | 152.2768
631 | 0 | 37.2857 | 25.776 | 152.2768
632 | 0 | 7.0125 | 16.9667 | 152.2768
633 | 0 | 6.438 | 9.0133 | 152.2768
634 | 0 | 1.392 | 5.2848 | 152.2768
635 | 0 | 4.4315 | 7.022 | 152.2768
636 | 0 | 16.733 | 5.8797 | 152.2768
637 | 1.8333 | 16.229 | 5.5307 | 152.2768
638 | 0 | 7.6725 | 5.3732 | 152.2768
639 | 0 | 6.7325 | 4.39 | 152.2768
640 | 2.5667 | 9.048 | 5.9476 | 152.2768
641 | 0 | 14.3134 | 13.3804 | 152.2768
642 | 5.1333 | 9.7893 | 23.4555 | 152.2768
643 | 0 | 11.832 | 24.1422 | 152.2768
644 | 2.2 | 18.792 | 18.9479 | 152.2768
645 | 9.1667 | 8.352 | 14.4493 | 152.2768
646 | 0 | 3.132 | 6.3495 | 152.2768
647 | 0 | 0 | 2.2996 | 152.2768
648 | 0 | 0 | 2.0411 | 148.3318
649 | 0 | 0 | 2.1174 | 148.3318
650 | 0 | 0 | 2.045 | 148.3318
651 | 0 | 1.392 | 1.8919 | 148.3318
652 | 0 | 1.566 | 5.1009 | 148.3318
653 | 0 | 22.6695 | 7.0779 | 148.3318
654 | 0 | 35.8096 | 30.8488 | 148.3318
655 | 0 | 18.1865 | 28.6176 | 148.3318
656 | 0 | 4.8544 | 11.1381 | 148.3318
657 | 0 | 4.9567 | 6.7036 | 148.3318
658 | 0 | 0.522 | 3.1608 | 148.3318
659 | 0 | 1.914 | 5.8923 | 148.3318
660 | 3.3 | 7.4424 | 7.6787 | 148.3318
661 | 1.8333 | 16.4775 | 11.7149 | 148.3318
662 | 0 | 12.7448 | 15.7476 | 148.3318
663 | 0 | 3.905 | 7.2015 | 148.3318
664 | 0 | 5.0447 | 4.6608 | 148.3318
665 | 0 | 12.18 | 11.2694 | 148.3318
666 | 0 | 8.004 | 18.6719 | 148.3318
667 | 6.2333 | 11.0841 | 35.1009 | 148.3318
668 | 0 | 11.1265 | 26.3703 | 148.3318
669 | 0 | 19.7091 | 21.3327 | 148.3318
670 | 3.3 | 4.609 | 6.8135 | 148.3318
671 | 0 | 0 | 2.2798 | 148.3318
672 | 0 | 0 | 2.2535 | 112.0379
673 | 0 | 0 | 2.3793 | 112.0379
674 | 0 | 0 | 2.0043 | 112.0379
675 | 0 | 0.174 | 2.0062 | 112.0379
676 | 0 | 2.61 | 3.7919 | 112.0379
677 | 0 | 17.0869 | 6.9853 | 112.0379
678 | 0 | 43.3877 | 29.0057 | 112.0379
679 | 0 | 21.2791 | 30.1271 | 112.0379
680 | 0 | 3.4241 | 13.9205 | 112.0379
681 | 0 | 1.74 | 5.4706 | 112.0379
682 | 0 | 0.348 | 2.565 | 112.0379
683 | 0 | 4.002 | 3.5803 | 112.0379
684 | 3.3 | 11.7098 | 6.4218 | 112.0379
685 | 1.8333 | 7.6188 | 7.7943 | 112.0379
686 | 0 | 18.792 | 6.4558 | 112.0379
687 | 0 | 15.7452 | 5.6684 | 112.0379
688 | 7.7 | 2.1285 | 6.6097 | 112.0379
689 | 0 | 11.658 | 15.1982 | 112.0379
690 | 0 | 9.3197 | 22.9382 | 112.0379
691 | 0 | 13.8814 | 28.2606 | 112.0379
692 | 3.3 | 9.918 | 17.838 | 112.0379
693 | 6.2333 | 20.1502 | 14.5265 | 112.0379
694 | 1.8333 | 0.39871 | 7.5846 | 112.0379
695 | 0 | 0 | 2.6826 | 112.0379
696 | 0 | 0 | 1.9267 | 120.7169
697 | 0 | 0 | 2.0695 | 120.7169
698 | 0 | 0 | 2.0049 | 120.7169
699 | 0 | 0.174 | 2.2933 | 120.7169
700 | 0 | 2.61 | 4.2544 | 120.7169
701 | 0 | 20.3505 | 5.5697 | 120.7169
702 | 0 | 35.266 | 26.1697 | 120.7169
703 | 0 | 48.5952 | 34.1859 | 120.7169
704 | 0 | 21.0567 | 22.2467 | 120.7169
705 | 0 | 4.872 | 16.6282 | 120.7169
706 | 0 | 13.05 | 16.4179 | 120.7169
707 | 0 | 6.264 | 32.4679 | 120.7169
708 | 2.5667 | 2.8789 | 16.9615 | 120.7169
709 | 0 | 8.7 | 9.8294 | 120.7169
710 | 0 | 3.828 | 15.3534 | 120.7169
711 | 0 | 12.9557 | 10.3608 | 120.7169
712 | 3.3 | 17.226 | 8.1132 | 120.7169
713 | 2.5667 | 27.5984 | 20.4378 | 120.7169
714 | 0 | 2.7969 | 23.7551 | 120.7169
715 | 0 | 3.7367 | 19.7354 | 120.7169
716 | 0 | 8.0879 | 16.4095 | 120.7169
717 | 0 | 14.9284 | 11.0333 | 120.7169
718 | 0 | 5.742 | 6.0058 | 120.7169
719 | 0 | 0 | 2.4607 | 120.7169
720 | 0 | 0 | 1.8761 | 99.4139
721 | 0 | 0 | 1.9289 | 99.4139
722 | 0 | 0.174 | 2.0124 | 99.4139
723 | 0 | 0 | 2.2764 | 99.4139
724 | 0 | 1.74 | 3.6353 | 99.4139
725 | 0 | 19.9688 | 6.3922 | 99.4139
726 | 0 | 22.8898 | 23.4233 | 99.4139
727 | 0 | 39.0772 | 28.529 | 99.4139
728 | 0 | 30.6276 | 30.5691 | 99.4139
729 | 0 | 12.9605 | 28 | 99.4139
730 | 0 | 9.7949 | 17.5497 | 99.4139
731 | 0 | 4.3745 | 20.9923 | 99.4139
732 | 0 | 5.4569 | 21.9942 | 99.4139
733 | 0 | 10.3481 | 19.0395 | 99.4139
734 | 0 | 15.7377 | 16.3539 | 99.4139
735 | 3.3 | 18.7826 | 16.6199 | 99.4139
736 | 3.3 | 5.568 | 10.8117 | 99.4139
737 | 0 | 10.092 | 14.487 | 99.4139
738 | 0 | 14.268 | 19.9582 | 99.4139
739 | 0 | 24.5021 | 25.9641 | 99.4139
740 | 3.3 | 13.1303 | 19.0824 | 99.4139
741 | 0 | 6.612 | 13.6718 | 99.4139
742 | 0 | 2.436 | 6.877 | 99.4139
743 | 0 | 0 | 3.7213 | 99.4139

## Irradiation and temperatur
Time | Irradiation | Temperature
0 | 0 | -0.81
1 | 0 | -1.389
2 | 0 | -1.043
3 | 0 | -0.794
4 | 0 | -0.797
5 | 0 | -0.532
6 | 0 | -0.019
7 | 0.002 | 0.494
8 | 0.051 | 1.684
9 | 0.139 | 2.93
10 | 0.226 | 3.949
11 | 0.299 | 4.855
12 | 0.34 | 5.522
13 | 0.35 | 5.677
14 | 0.319 | 5.342
15 | 0.32 | 4.366
16 | 0.276 | 3.667
17 | 0.209 | 3.679
18 | 0.13 | 3.723
19 | 0.043 | 3.437
20 | 0 | 3.156
21 | 0 | 2.861
22 | 0 | 2.704
23 | 0 | 2.633
24 | 0 | 2.572
25 | 0 | 2.403
26 | 0 | 1.881
27 | 0 | 1.18
28 | 0 | 1.024
29 | 0 | 1.212
30 | 0 | 1.439
31 | 0.002 | 1.46
32 | 0.07 | 1.55
33 | 0.158 | 2.126
34 | 0.24 | 2.777
35 | 0.305 | 2.98
36 | 0.349 | 2.707
37 | 0.372 | 2.346
38 | 0.369 | 1.784
39 | 0.342 | 1.075
40 | 0.292 | 0.465
41 | 0.224 | 0.104
42 | 0.143 | -0.175
43 | 0.053 | -0.448
44 | 0 | -0.868
45 | 0 | -1.504
46 | 0 | -2.192
47 | 0 | -2.807
48 | 0 | -3.248
49 | 0 | -3.526
50 | 0 | -3.474
51 | 0 | -3.232
52 | 0 | -2.961
53 | 0 | -2.731
54 | 0 | -2.714
55 | 0.001 | -2.901
56 | 0.065 | -2.692
57 | 0.152 | -1.831
58 | 0.23 | -0.955
59 | 0.292 | -0.567
60 | 0.331 | -0.746
61 | 0.356 | -0.974
62 | 0.357 | -1.053
63 | 0.333 | -1.199
64 | 0.286 | -1.526
65 | 0.219 | -1.817
66 | 0.138 | -2.065
67 | 0.049 | -2.346
68 | 0 | -2.678
69 | 0 | -3.165
70 | 0 | -3.607
71 | 0 | -3.889
72 | 0 | -4.024
73 | 0 | -4.063
74 | 0 | -4.199
75 | 0 | -4.373
76 | 0 | -4.473
77 | 0 | -4.503
78 | 0 | -4.459
79 | 0.001 | -4.468
80 | 0.061 | -3.897
81 | 0.149 | -2.634
82 | 0.226 | -1.764
83 | 0.288 | -1.303
84 | 0.333 | -1.061
85 | 0.355 | -1.038
86 | 0.352 | -1.312
87 | 0.328 | -1.735
88 | 0.279 | -1.903
89 | 0.212 | -1.72
90 | 0.133 | -1.382
91 | 0.041 | -1.047
92 | 0 | -0.824
93 | 0 | -0.699
94 | 0 | -0.597
95 | 0 | -0.445
96 | 0 | -0.314
97 | 0 | -0.228
98 | 0 | -0.146
99 | 0 | -0.112
100 | 0 | -0.082
101 | 0 | 0.034
102 | 0 | 0.181
103 | 0.001 | 0.32
104 | 0.057 | 0.46
105 | 0.143 | 0.562
106 | 0.22 | 0.586
107 | 0.283 | 0.764
108 | 0.328 | 1.216
109 | 0.35 | 1.764
110 | 0.349 | 1.881
111 | 0.322 | 1.709
112 | 0.273 | 1.41
113 | 0.208 | 1.144
114 | 0.129 | 1.072
115 | 0.04 | 0.889
116 | 0 | 0.815
117 | 0 | 0.834
118 | 0 | 0.838
119 | 0 | 0.861
120 | 0 | 0.843
121 | 0 | 0.73
122 | 0 | 0.608
123 | 0 | 0.435
124 | 0 | 0.205
125 | 0 | -0.065
126 | 0 | -0.559
127 | 0 | -1.257
128 | 0.056 | -1.19
129 | 0.141 | -0.276
130 | 0.218 | 0.509
131 | 0.282 | 0.886
132 | 0.326 | 1.06
133 | 0.348 | 0.931
134 | 0.346 | 0.616
135 | 0.318 | -0.073
136 | 0.269 | -0.64
137 | 0.2 | -0.918
138 | 0.111 | -1.19
139 | 0.022 | -1.436
140 | 0 | -1.608
141 | 0 | -1.719
142 | 0 | -1.825
143 | 0 | -2.002
144 | 0 | -2.306
145 | 0 | -2.59
146 | 0 | -2.969
147 | 0 | -3.221
148 | 0 | -3.556
149 | 0 | -4.055
150 | 0 | -4.565
151 | 0 | -4.889
152 | 0.044 | -4.256
153 | 0.132 | -2.76
154 | 0.21 | -1.511
155 | 0.274 | -1.019
156 | 0.317 | -0.703
157 | 0.337 | -0.551
158 | 0.335 | -0.736
159 | 0.309 | -1.529
160 | 0.262 | -2.526
161 | 0.189 | -2.834
162 | 0.084 | -2.987
163 | 0.014 | -2.982
164 | 0 | -2.811
165 | 0 | -2.525
166 | 0 | -2.178
167 | 0 | -1.831
168 | 0 | -1.603
169 | 0 | -1.438
170 | 0 | -1.774
171 | 0 | -1.999
172 | 0 | -1.784
173 | 0 | -1.493
174 | 0 | -0.854
175 | 0 | -0.446
176 | 0.039 | -0.107
177 | 0.121 | 0.242
178 | 0.202 | 0.721
179 | 0.269 | 1.29
180 | 0.313 | 1.974
181 | 0.335 | 2.41
182 | 0.332 | 2.221
183 | 0.307 | 1.639
184 | 0.256 | 1.425
185 | 0.186 | 1.66
186 | 0.083 | 1.754
187 | 0.017 | 1.749
188 | 0 | 1.741
189 | 0 | 1.74
190 | 0 | 1.574
191 | 0 | 1.44
192 | 0 | 1.311
193 | 0 | 1.163
194 | 0 | 0.842
195 | 0 | 0.585
196 | 0 | 0.471
197 | 0 | 0.344
198 | 0 | -0.005
199 | 0 | -0.296
200 | 0.037 | 0.157
201 | 0.122 | 1.108
202 | 0.204 | 1.523
203 | 0.277 | 1.488
204 | 0.282 | 1.198
205 | 0.227 | 0.922
206 | 0.214 | 0.622
207 | 0.213 | 0.142
208 | 0.178 | -0.308
209 | 0.131 | -0.422
210 | 0.067 | -0.641
211 | 0.014 | -0.855
212 | 0 | -1.077
213 | 0 | -1.291
214 | 0 | -1.37
215 | 0 | -1.489
216 | 0 | -1.649
217 | 0 | -1.835
218 | 0 | -2.063
219 | 0 | -2.23
220 | 0 | -2.339
221 | 0 | -2.504
222 | 0 | -2.634
223 | 0 | -2.638
224 | 0.038 | -2.063
225 | 0.123 | -0.992
226 | 0.195 | -0.147
227 | 0.257 | 0.422
228 | 0.298 | 0.691
229 | 0.319 | 0.648
230 | 0.318 | 0.251
231 | 0.29 | -0.557
232 | 0.244 | -1.333
233 | 0.182 | -1.469
234 | 0.1 | -1.587
235 | 0.022 | -1.734
236 | 0 | -1.977
237 | 0 | -2.167
238 | 0 | -2.386
239 | 0 | -2.64
240 | 0 | -2.934
241 | 0 | -3.136
242 | 0 | -3.276
243 | 0 | -3.345
244 | 0 | -3.375
245 | 0 | -3.501
246 | 0 | -3.881
247 | 0 | -4.334
248 | 0.035 | -4.054
249 | 0.119 | -2.835
250 | 0.199 | -1.999
251 | 0.262 | -1.677
252 | 0.306 | -1.662
253 | 0.315 | -1.834
254 | 0.28 | -2.249
255 | 0.257 | -3.474
256 | 0.237 | -5.418
257 | 0.143 | -5.552
258 | 0.062 | -4.681
259 | 0.011 | -3.293
260 | 0 | -2.12
261 | 0 | -1.697
262 | 0 | -1.523
263 | 0 | -1.471
264 | 0 | -1.466
265 | 0 | -1.474
266 | 0 | -1.661
267 | 0 | -1.695
268 | 0 | -1.42
269 | 0 | -1.061
270 | 0 | -0.854
271 | 0 | -0.624
272 | 0.03 | 0.147
273 | 0.12 | 1.053
274 | 0.179 | 1.688
275 | 0.175 | 2.187
276 | 0.175 | 2.526
277 | 0.193 | 2.608
278 | 0.22 | 2.322
279 | 0.257 | 1.687
280 | 0.236 | 1.092
281 | 0.176 | 0.877
282 | 0.101 | 0.768
283 | 0.019 | 0.492
284 | 0 | 0.595
285 | 0 | 0.889
286 | 0 | 1.312
287 | 0 | 1.374
288 | 0 | 1.425
289 | 0 | 1.429
290 | 0 | 1.265
291 | 0 | 1.05
292 | 0 | 0.936
293 | 0 | 0.722
294 | 0 | 0.196
295 | 0 | -0.152
296 | 0.024 | 0.658
297 | 0.082 | 1.772
298 | 0.161 | 2.661
299 | 0.243 | 3.364
300 | 0.28 | 3.56
301 | 0.302 | 3.438
302 | 0.301 | 3.049
303 | 0.274 | 1.999
304 | 0.227 | 1.147
305 | 0.164 | 1.584
306 | 0.091 | 1.931
307 | 0.017 | 2.009
308 | 0 | 2.185
309 | 0 | 2.295
310 | 0 | 2.318
311 | 0 | 2.5
312 | 0 | 2.616
313 | 0 | 2.738
314 | 0 | 2.686
315 | 0 | 2.517
316 | 0 | 2.441
317 | 0 | 2.481
318 | 0 | 2.38
319 | 0 | 2.282
320 | 0.027 | 2.584
321 | 0.105 | 3.195
322 | 0.171 | 3.705
323 | 0.231 | 3.901
324 | 0.274 | 3.718
325 | 0.294 | 3.289
326 | 0.289 | 2.782
327 | 0.267 | 2.013
328 | 0.221 | 1.261
329 | 0.159 | 0.844
330 | 0.086 | 0.448
331 | 0.016 | 0.056
332 | 0 | -0.45
333 | 0 | -1.172
334 | 0 | -1.871
335 | 0 | -2.331
336 | 0 | -2.628
337 | 0 | -2.804
338 | 0 | -2.676
339 | 0 | -2.478
340 | 0 | -2.117
341 | 0 | -1.639
342 | 0 | -1.112
343 | 0 | -0.59
344 | 0.023 | 0.051
345 | 0.096 | 0.994
346 | 0.165 | 1.556
347 | 0.223 | 1.917
348 | 0.266 | 2.418
349 | 0.287 | 2.568
350 | 0.284 | 2.226
351 | 0.259 | 1.572
352 | 0.212 | 1.03
353 | 0.15 | 1.113
354 | 0.08 | 1.333
355 | 0.014 | 1.514
356 | 0 | 1.669
357 | 0 | 1.687
358 | 0 | 1.673
359 | 0 | 1.769
360 | 0 | 1.89
361 | 0 | 1.947
362 | 0 | 1.969
363 | 0 | 2.012
364 | 0 | 2.056
365 | 0 | 2.013
366 | 0 | 1.677
367 | 0 | 1.222
368 | 0.02 | 1.412
369 | 0.086 | 2.399
370 | 0.141 | 3.473
371 | 0.178 | 4.163
372 | 0.208 | 4.498
373 | 0.229 | 4.432
374 | 0.235 | 3.999
375 | 0.204 | 2.479
376 | 0.143 | 1.233
377 | 0.085 | 0.882
378 | 0.036 | 0.333
379 | 0.005 | -0.643
380 | 0 | -0.824
381 | 0 | -0.5
382 | 0 | 0.015
383 | 0 | 0.278
384 | 0 | 0.261
385 | 0 | 0.396
386 | 0 | 0.834
387 | 0 | 1.121
388 | 0 | 1.087
389 | 0 | 0.899
390 | 0 | 1.001
391 | 0 | 1.073
392 | 0.016 | 1.88
393 | 0.094 | 3.131
394 | 0.166 | 4.547
395 | 0.222 | 5.958
396 | 0.261 | 7.068
397 | 0.282 | 7.55
398 | 0.277 | 6.841
399 | 0.255 | 4.711
400 | 0.209 | 2.557
401 | 0.148 | 1.749
402 | 0.078 | 1.401
403 | 0.012 | 1.351
404 | 0 | 1.792
405 | 0 | 2.02
406 | 0 | 1.856
407 | 0 | 1.76
408 | 0 | 1.78
409 | 0 | 1.721
410 | 0 | 1.479
411 | 0 | 1.151
412 | 0 | 0.765
413 | 0 | 0.354
414 | 0 | 0.042
415 | 0 | -0.192
416 | 0.019 | 0.206
417 | 0.093 | 0.938
418 | 0.159 | 1.763
419 | 0.216 | 2.54
420 | 0.258 | 2.819
421 | 0.281 | 2.626
422 | 0.274 | 2.036
423 | 0.255 | 0.721
424 | 0.209 | -1.744
425 | 0.151 | -2.734
426 | 0.066 | -3.624
427 | 0.008 | -4.214
428 | 0 | -4.606
429 | 0 | -4.844
430 | 0 | -5.014
431 | 0 | -5.113
432 | 0 | -5.215
433 | 0 | -5.351
434 | 0 | -5.481
435 | 0 | -5.61
436 | 0 | -5.743
437 | 0 | -5.841
438 | 0 | -5.705
439 | 0 | -5.449
440 | 0.008 | -4.598
441 | 0.043 | -2.886
442 | 0.09 | -1.624
443 | 0.142 | -0.919
444 | 0.185 | -0.484
445 | 0.243 | -0.361
446 | 0.298 | -0.562
447 | 0.269 | -1.357
448 | 0.218 | -2.708
449 | 0.134 | -2.905
450 | 0.067 | -2.753
451 | 0.008 | -2.569
452 | 0 | -2.526
453 | 0 | -2.554
454 | 0 | -2.557
455 | 0 | -2.543
456 | 0 | -2.53
457 | 0 | -2.465
458 | 0 | -2.482
459 | 0 | -2.509
460 | 0 | -2.546
461 | 0 | -2.733
462 | 0 | -3.083
463 | 0 | -3.402
464 | 0.016 | -2.878
465 | 0.082 | -1.562
466 | 0.145 | -0.347
467 | 0.202 | 0.359
468 | 0.242 | 0.723
469 | 0.263 | 0.739
470 | 0.261 | 0.44
471 | 0.237 | -0.51
472 | 0.198 | -1.903
473 | 0.141 | -2.162
474 | 0.059 | -2.359
475 | 0.005 | -2.6
476 | 0 | -2.91
477 | 0 | -3.268
478 | 0 | -3.649
479 | 0 | -3.987
480 | 0 | -4.251
481 | 0 | -4.513
482 | 0 | -4.859
483 | 0 | -5.299
484 | 0 | -5.675
485 | 0 | -6.049
486 | 0 | -6.465
487 | 0 | -6.791
488 | 0.013 | -6.032
489 | 0.081 | -4.585
490 | 0.144 | -2.897
491 | 0.197 | -1.501
492 | 0.237 | -0.565
493 | 0.256 | -0.229
494 | 0.255 | -0.428
495 | 0.23 | -1.45
496 | 0.186 | -2.809
497 | 0.126 | -3.356
498 | 0.056 | -3.674
499 | 0.008 | -4.05
500 | 0 | -4.492
501 | 0 | -5.069
502 | 0 | -5.564
503 | 0 | -5.973
504 | 0 | -6.201
505 | 0 | -6.591
506 | 0 | -7.048
507 | 0 | -7.595
508 | 0 | -8.028
509 | 0 | -8.501
510 | 0 | -8.918
511 | 0 | -9.151
512 | 0.014 | -8.037
513 | 0.078 | -6.371
514 | 0.143 | -4.349
515 | 0.194 | -3.022
516 | 0.232 | -1.874
517 | 0.25 | -1.394
518 | 0.248 | -1.488
519 | 0.222 | -2.223
520 | 0.179 | -3.784
521 | 0.126 | -4.736
522 | 0.061 | -5.406
523 | 0.006 | -5.909
524 | 0 | -6.319
525 | 0 | -6.585
526 | 0 | -6.767
527 | 0 | -6.97
528 | 0 | -7.202
529 | 0 | -7.33
530 | 0 | -7.405
531 | 0 | -7.43
532 | 0 | -7.363
533 | 0 | -7.322
534 | 0 | -7.301
535 | 0 | -7.326
536 | 0.007 | -6.987
537 | 0.043 | -6.266
538 | 0.09 | -5.494
539 | 0.14 | -4.691
540 | 0.18 | -4.14
541 | 0.196 | -3.922
542 | 0.183 | -3.866
543 | 0.147 | -3.987
544 | 0.128 | -4.341
545 | 0.09 | -4.667
546 | 0.034 | -4.94
547 | 0.003 | -5.142
548 | 0 | -5.265
549 | 0 | -5.325
550 | 0 | -5.338
551 | 0 | -5.335
552 | 0 | -5.37
553 | 0 | -5.416
554 | 0 | -5.465
555 | 0 | -5.551
556 | 0 | -5.721
557 | 0 | -5.832
558 | 0 | -5.973
559 | 0 | -6.182
560 | 0.012 | -5.649
561 | 0.076 | -4.387
562 | 0.145 | -3.131
563 | 0.203 | -2.115
564 | 0.245 | -1.426
565 | 0.262 | -1.238
566 | 0.261 | -1.578
567 | 0.236 | -2.318
568 | 0.193 | -3.215
569 | 0.132 | -3.87
570 | 0.06 | -4.511
571 | 0.005 | -5.101
572 | 0 | -5.472
573 | 0 | -5.748
574 | 0 | -5.991
575 | 0 | -6.09
576 | 0 | -5.996
577 | 0 | -5.875
578 | 0 | -5.731
579 | 0 | -5.639
580 | 0 | -5.677
581 | 0 | -5.809
582 | 0 | -5.998
583 | 0 | -6.072
584 | 0.01 | -5.049
585 | 0.071 | -3.549
586 | 0.13 | -2.298
587 | 0.18 | -1.397
588 | 0.216 | -0.953
589 | 0.235 | -0.837
590 | 0.234 | -0.987
591 | 0.217 | -1.512
592 | 0.183 | -2.51
593 | 0.124 | -3.333
594 | 0.055 | -4.086
595 | 0.004 | -4.622
596 | 0 | -4.923
597 | 0 | -5.111
598 | 0 | -5.257
599 | 0 | -5.642
600 | 0 | -5.949
601 | 0 | -6.184
602 | 0 | -6.477
603 | 0 | -6.366
604 | 0 | -6.023
605 | 0 | -5.655
606 | 0 | -5.122
607 | 0 | -4.457
608 | 0.008 | -3.047
609 | 0.066 | -1.798
610 | 0.125 | -0.427
611 | 0.168 | 0.5
612 | 0.206 | 1.04
613 | 0.225 | 1.368
614 | 0.221 | 1.495
615 | 0.195 | 1.48
616 | 0.151 | 1.461
617 | 0.096 | 1.564
618 | 0.049 | 1.54
619 | 0.004 | 1.473
620 | 0 | 1.312
621 | 0 | 1.183
622 | 0 | 1.065
623 | 0 | 0.968
624 | 0 | 0.609
625 | 0 | 0.119
626 | 0 | -0.361
627 | 0 | -0.637
628 | 0 | -0.823
629 | 0 | -1.036
630 | 0 | -1.283
631 | 0 | -1.333
632 | 0.008 | 0.196
633 | 0.06 | 1.295
634 | 0.117 | 1.516
635 | 0.166 | 1.827
636 | 0.201 | 2.015
637 | 0.22 | 1.953
638 | 0.217 | 1.556
639 | 0.192 | 0.538
640 | 0.149 | -0.742
641 | 0.095 | -1.224
642 | 0.05 | -1.376
643 | 0.003 | -1.407
644 | 0 | -1.257
645 | 0 | -1.113
646 | 0 | -1.028
647 | 0 | -0.938
648 | 0 | -0.786
649 | 0 | -0.767
650 | 0 | -0.685
651 | 0 | -0.558
652 | 0 | -0.582
653 | 0 | -0.529
654 | 0 | -0.269
655 | 0 | -0.025
656 | 0.007 | 0.349
657 | 0.058 | 0.877
658 | 0.114 | 1.247
659 | 0.162 | 1.666
660 | 0.198 | 1.981
661 | 0.216 | 2.315
662 | 0.215 | 2.311
663 | 0.193 | 1.334
664 | 0.154 | -0.761
665 | 0.098 | -1.559
666 | 0.048 | -1.813
667 | 0.003 | -2.098
668 | 0 | -2.308
669 | 0 | -2.399
670 | 0 | -2.555
671 | 0 | -2.834
672 | 0 | -2.929
673 | 0 | -2.839
674 | 0 | -2.569
675 | 0 | -2.206
676 | 0 | -1.681
677 | 0 | -1.367
678 | 0 | -1.597
679 | 0 | -1.559
680 | 0.006 | -0.384
681 | 0.06 | 0.915
682 | 0.122 | 1.722
683 | 0.17 | 2.153
684 | 0.203 | 2.288
685 | 0.219 | 2.19
686 | 0.217 | 1.833
687 | 0.198 | 0.324
688 | 0.159 | -1.548
689 | 0.102 | -1.847
690 | 0.049 | -1.878
691 | 0.002 | -1.982
692 | 0 | -2.109
693 | 0 | -2.056
694 | 0 | -2.408
695 | 0 | -3.816
696 | 0 | -5.043
697 | 0 | -5.623
698 | 0 | -5.864
699 | 0 | -6.079
700 | 0 | -6.316
701 | 0 | -6.498
702 | 0 | -6.535
703 | 0 | -6.098
704 | 0.003 | -3.79
705 | 0.034 | -1.719
706 | 0.082 | 0.128
707 | 0.156 | 1.245
708 | 0.228 | 1.719
709 | 0.246 | 1.829
710 | 0.237 | 1.578
711 | 0.2 | 0.611
712 | 0.145 | -1.38
713 | 0.085 | -2.168
714 | 0.047 | -2.545
715 | 0.002 | -2.817
716 | 0 | -3.089
717 | 0 | -3.362
718 | 0 | -3.652
719 | 0 | -3.831
720 | 0 | -3.714
721 | 0 | -3.657
722 | 0 | -3.644
723 | 0 | -3.672
724 | 0 | -3.655
725 | 0 | -3.753
726 | 0 | -3.931
727 | 0 | -3.994
728 | 0.005 | -3.197
729 | 0.054 | -1.513
730 | 0.108 | 0.2
731 | 0.151 | 1.239
732 | 0.181 | 1.819
733 | 0.199 | 1.942
734 | 0.197 | 1.541
735 | 0.173 | 0.392
736 | 0.126 | -1.035
737 | 0.07 | -1.299
738 | 0.042 | -1.5
739 | 0.002 | -1.871
740 | 0 | -2.344
741 | 0 | -2.932
742 | 0 | -3.378
743 | 0 | -3.612

## Contractor rate
Elements | Contractor Rate
Unit | p_con [€/kW, a]
PV | 1000
ST | 1000
HP | 1000
Battery | 10000
Charging Station | 10000

## irradiation_winter
time | Pv_Contractor | PV | PV_ninja_21_7 | PVGIS_EU | Electricity household
1 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0.01 | 0.1002 | 600
7 | 0 | 0 | 0.058 | 0.26208 | 660
8 | 0.003 | 0.003 | 0.17 | 0.41768 | 700
9 | 0.014 | 0.014 | 0.325 | 0.55237 | 800
10 | 0.003 | 0.003 | 0.469 | 0.48032 | 200
11 | 0.003 | 0.003 | 0.572 | 0.60196 | 200
12 | 0 | 0 | 0.638 | 0.48791 | 200
13 | 0.001 | 0.001 | 0.665 | 0.27663 | 200
14 | 0.015 | 0.015 | 0.636 | 0.19836 | 200
15 | 0 | 0 | 0.608 | 0.25089 | 200
16 | 0 | 0 | 0.541 | 0.21873 | 800
17 | 0 | 0 | 0.426 | 0.07666 | 800
18 | 0 | 0 | 0.29 | 0.00616 | 800
19 | 0 | 0 | 0.146 | 0 | 800
20 | 0 | 0 | 0.045 | 0 | 800
21 | 0 | 0 | 0.007 | 0 | 800
22 | 0 | 0 | 0 | 0 | 200
23 | 0 | 0 | 0 | 0 | 200
24 | 0 | 0 | 0 | 0 | 0

## Tabelle1
Supply | Contractor | Self financed
PV | 8
ST | 0
HP
Grid | 82
DH | 180
Gas
Thermal supply | 180
Electric supply | 90